## Sheet1
|  | Flow rate | Minutes/Shower | Gallons Per Shower | Showers/wk | weeks/yr | min/yr | Hot Flow (gpy) | lb/gal | Start Temp | End Temp | Delta T | Energy Usage | Heater Efficiency | ng Energy | AES | Price/Btu | End Savings | Low-Flow Head Cost
Old Shower Head - Author's Assumptions | Water Temp starting at 60F | 5 | 10 | 50 | 25 | 52 | 13000 | 65000 | 8.34 | 60 | 100 | 40 | 21684000 | 0.75 | 28912000 | 0 | 1e-05 | 0 | 0
Old Shower Head - Real Assumptions | Water Temp starting at 70F - Room Temp. | 5 | 10 | 50 | 25 | 52 | 13000 | 65000 | 8.34 | 70 | 100 | 30 | 16263000 | 0.75 | 21684000 | 7228000 | 1e-05 | 72.28 | 0
New Shower Head - Author's Assumptions | Less comfortable/Not as clean | 2 | 10 | 20 | 25 | 52 | 13000 | 26000 | 8.34 | 60 | 100 | 40 | 8673600 | 0.75 | 11564800 | 17347200 | 1e-05 | 173.472 | 10
New Shower Head - Real Assumptions | Less comfortable, more time to get clean | 2 | 25 | 50 | 25 | 52 | 32500 | 65000 | 8.34 | 70 | 100 | 30 | 16263000 | 0.94 | 17301063.8298 | 11610936.1702 | 1e-05 | 116.1094 | 10
Real Energy Savings | 5421000
Time Wasted to get equally clean | 19500 | Minutes | 325 | Hours
Author's SPP (Initial Cost / AES * PR) | 63.1226
Real SPP | 94.3076
Heat Equation
E=mc[delta T] = H5*8.34lb/gal*1Btu/lb-deg. F * (100 deg F - 60 deg F) = 21.7*10^6Btu/yr
Energy for Hot Water
[5 empty] | n | TEXT=(Useful hot water energy / NG energy Input)
Energy Input
= (useful heating energy / n) = (21.7 * 10^6 Btu/yr / 0.75) = (28.9 * 10^6 Btu/yr)
Energy Savings
NG Energy (old) - NG Energy (low-flow) =